實驗測量的誤差

- mean / average

- deviation from the mean

- standard deviation

- variance,

- relative standard deviation (RSD)

- RSD in percent or RSD in ppt

- spread / range

- standard deviation of calculated results

| Error Propagation in Arithmetic Calculation |
| --- |
| 加減 |  |  |
| 乘除 |  |  |
| 指數 (次方) |  |  |
| 對數 |  |  |

- confidence intervals (CI) 【】

CI  for μ (the true value)  =  ；

| Confidence Levels for Various Values of z |
| --- |
| Confidence Level, % | z |
| 50 | 0.67 |
| 68 | 1.00 |
| 80 | 1.28 |
| 90 | 1.64 |
| 95 | 1.96 |
| 95.4 | 2.00 |
| 99 | 2.58 |
| 99.7 | 3.00 |
| 99.9 | 3.29 |

- 某次實驗重複5次測量的結果如下：71.13、70.77、70.22、70.10、69.85，記算 (1) mean (2) standard deviation (3) standard deviation in % (4) spread；

- (參考例1) 以平均值為中心，如果希望找到正確結果的機率是 95%，要選擇多大的 CI？

- 90.31 (0.08) – 89.32 (0.06) + 0.200 (0.004) =？

- 0.0020 (0.0005) × 20.20 (0.02) × 300 (1) =？

- =？